Incoming student mobility

Name of UNIOS University Unit: Faculty of Electrical Engineering

COURSES OFFERED IN FOREIGN LANGUAGE

FOR ERASMUS+ INDIVIDUAL INCOMING STUDENTS

| Department or Chair within the UNIOS Unit | Department of Power Engineering |
| --- | --- |

| Study program | Electrical Power Engineering |
| --- | --- |

| Study level | Graduate (master) |
| --- | --- |

| Course title | Power System Analysis |
| --- | --- |
| Course code (if any) | DE102 |
| Language of instruction | English, German |
| Brief course description | Voltage control in the network. Rated voltage and its definition. Precautions and practical measures for voltage drop decreasing. Option of higher voltage level. Reducing of the reactance. Decreasing of the reactive power. Compensation of the voltage drop. Voltage regulation. Power flow in the network: Mathematical model of the network. Equations for nodal power and power flow. Classification of the nodes. Power flow calculation by Gauss-Seidel and Newton - Raphson algorithm. Short circuit and other faults in the network. Causes and consequences of short circuits. Physical basics of short circuits. Treatment of the three phase network neutrals. Calculation of short circuit current (three phase short circuit, line to line short circuit and single line short circuit). Measures for short circuit current reduction. Phase to ground fault. Protection, fault location and elimination of phase to ground fault. Power transmission stability: Limits of power flow transmission. Static stability of the lossless system. Static stability of arbitrary system. Transient stability. Analysis of transient stability by equal area method. Influence of short circuit types on transient stability. Determination of critical clearing angle. Influence of automatic reclosing on transient stability. Quantitative analysis of transient stability – step by step method. Voltage stability. |
| Form of teaching | Lectures + problem solving exercises + laboratory practice |
| Form of assessment | Written problem solving tests, written theoretical tests, oral laboratory practice tests, examination |
| Number of ECTS | 7 |
| Class hours per week | 3 + 1 +1 |
| Minimum number of students | 1 |
| Period of realization | winter semester |
| Lecturer | Lajos Józsa PhD, Full Professor |